# Thermo ScientificTM SureTectTM Salmonella spp PCR Assay - AOAC 2021.02

## SCOPE

This method is applicable to raw beef and other foods and environmental samples.

## PRINCIPLES

The Thermo Scientific SureTect Salmonella species PCR assay is a real-time PCR assay designed for rapid detection of Salmonella species.  This method is used in conjunction with the Applied Biosystems QuantStudio 5 Real-Time PCR Instrument and RapidFinder Analysis Software; or the Applied Biosystems 7500 Fast Real-Time PCR Instrument and RapidFinder Express Software or the Thermo Scientific PikoReal Real-Time PCR Instrument and Software.  The assay utilizes dye-labelled probes that target genes unique to Salmonella and an internal positive control. Target DNA, if present, is detected by real-time PCR. Analysis software provides interpretation of results. The IPC template, primers, and probe provide an internal control with each reaction to show that the PCR process has occurred.

The detection of Salmonella spp is broken down into the following stages:

### Enrichment

Raw meat sample (25 g) is enriched in 225 mL (1:10) pre-warmed (temp 41.5 ± 1°C) ISO Buffered Peptone Water (ISO BPW). For carcass sponges, BPW (ISO) is added to the moistened sponge to bring the total volume of 225ml. Raw meat sample (375g) is enriched in 1.5 L (1:5) pre-warmed Oxoid Modified Tryptone Soya Broth (mTSB). The sample is homogenized for 30 - 60 seconds using a stomacher and incubate at 41.5 ± 1C for 9 - 24 h.

A positive control culture must be run through all procedures daily or when testing is carried out. Store enriched samples at 2 - 8C.

### Sample lysis and PCR screening

Sample preparation for bacterial DNA extraction is carried out by using the SureTect lysis reagents (Ready-to-use SureTect Lysis Reagent 1 and Proteinase K) following the manufacturer’s recommended protocol. The extracted DNA lysate (20µl) is added into SureTect PCR Tube containing the PCR pellet and run in the Thermo ScientificTM Real-Time PCR Instrument.

### Confirmation

In all cases of PCR positive, PCR failed or a PCR signal-error the ISO BPW must be tested using AS 5013.10 (starting at the selective enrichment stage of the analysis). Confirmation must be carried out within 72 h following the end of incubation at a DAFF approved laboratory.

## CHECKLIST

| Enrichment | Is the ISO BPW or mTSB pre-warmed to temp 41.5 ± 1°C? |  |
| --- | --- | --- |
|  | Is the correct amount of enrichment broth used for the weight of sample analysed? |  |
|  | Is a positive control run with each batch of samples analysed? |  |
|  | Are reference cultures inoculated into enrichment broth at a level of 10 to 100 cells? |  |
|  | Is enrichment carried out at 41.5 ± 1C for 9-24? |  |
|  | Is enriched sample stored at 2-8C for confirmation if necessary? |  |
| SureTect PCR | Are the manufacturer’s instructions available? |  |
|  | Is the shelf-life of media and kits controlled? |  |
| Confirmation | Is confirmation carried out within 72 h following the end of incubation? |  |
|  | BPW/Oxoid mTSB should be supplied to off-site laboratories for confirmation following AS 5013.10 |  |
|  | If Salmonella confirmation is done in-house refer to AS 5013.10. |  |
|  | Are all suspect Salmonella sent to a reference Laboratory (see AS 5013.10) to be serotyped? |  |