# VIDAS®UP Salmonella (SPT) – AOAC 2013.01 (or AOAC 071101)

## SCOPE

This method is applicable to:

- Raw meats, meat products and carcass swabs.

## PRINCIPLES

Detection of Salmonella is based on enzyme-linked fluorescent immunoassay using a novel recombinant phage protein-based technology for used with the automated VIDAS instrument. The detection protocol can be broken down as follows:

### Enrichment

Sample (25 g) is enriched in pre-warmed (room temperature or 42 ± 1C for large volumes) 225 mL buffered peptone water (BPW) supplemented with Salmonella supplement (1 mL/225 mL, or 400 µL/100 mL) and incubated at 42 ± 1C for 18 - 24 h. For carcass sponges, buffered peptone water is added to the moistened sponge to bring the total volume to 60-100 mL and the sample incubated at 42 ± 1C for 18 - 24 h. In the case of sponges BPW need not be warmed to room temperature before being used to re-hydrate the sponge, for all subsequent additions BPW should be warmed to room temperature.

For 375g sample weights 1125 mL buffered peptone water pre-warmed at 42 ± 1C is added to 375g sample and then 5 mL Salmonella supplement is added. The bag is then incubated at 42 ± 1C for 22-26 hours.

### Enzyme immunoassay

VIDAS SPT test is performed using a portion of boiled post-enrichment broth. The assay is automated and carried out in the VIDAS instrument following the manufacturer’s instructions.

### Cultural confirmation

All Salmonella positive samples should be confirmed using enrichment broth following AS 5013.10. Confirmation carried out at an ‘off-site’ laboratory must be from retained BPW enrichment.

## CHECKLIST

| Enrichment | Is BPW + Salmonella Supplement used for enrichment? |  |
| --- | --- | --- |
|  | Is BPW warmed prior to use (room temperature or 42C)? |  |
|  | Is the correct amount of Salmonella supplement added to BPW? |  |
|  | Is the supplement homogenized prior to sampling? |  |
|  | Is a positive control run with each batch of samples analysed? |  |
|  | Are reference cultures inoculated into primary enrichment broth at a level of 10 to 100 cells? |  |
|  | Is pre-enrichment done at 42 ± 1C for 18 - 24h or 22-26 hours in the case of 375g samples? |  |
| Enzyme immunoassay | Are the manufacturer’s instructions available? |  |
|  | Are kits stored at 2-8 C when not in use? |  |
| Cultural confirmation | Is Salmonella confirmed from BPW? |  |
| (if applicable) | If an external laboratory is used is it department approved? |  |
|  | Is BPW supplied to off-site laboratories for confirmation following AS 5013.10? |  |
|  | Is Salmonella confirmed using AS 5013.10 (with appropriate selective agar plates)? |  |